# Motor Specification - M-101

Placeholder datasheet. Replace with the vendor-supplied spec when available.

Tag: M-101

Service: Feedwater pump drive (P-101)

Rated Power: 100 HP (75 kW)

Voltage: 480V, 3-phase, 60 Hz

Rated Speed: 1780 RPM

Frame: 405T

Enclosure: TEFC

Insulation Class: F

Service Factor: 1.15

Vendor: Baldor Reliance

P.O.#: PO-2026-0042

## Notes

M-101 is fed from MCC-1 via breaker CB-101. Starter is across-the-line with overload protection. Interlocks are wired through PLC input rack IR-2 (LSL-201, CV-301).