# Process Narrative - Hydrogen Feedwater Skid

Placeholder narrative for the hackathon demo. Replace with the real document when ready.

## 1. Overview

The feedwater skid supplies deionized water to the electrolyzer stack inlet under positive head pressure. The skid comprises a suction tank, a feedwater pump, a discharge control valve, and a low-low level interlock.

## 2. Suction Tank

Tank T-101 is a 500-gallon stainless-steel vessel. Level switch LSL-201 trips the motor on low-low condition to protect P-101 from dry running.

## 3. Feedwater Supply

### 3.1 Operation

Pump P-101 draws from T-101 and discharges through control valve CV-301 into the stack inlet header.

### 3.2 Feedwater Supply Conditions

P-101 supplies DI water at 5 bar to the electrolyzer stack inlet. Suction is taken from T-101; discharge is regulated by CV-301 in AUTO. LSL-201 must be satisfied for the motor to start.

## 4. Interlocks

The motor will not start unless LSL-201 is satisfied and CV-301 is in AUTO. Both interlocks are wired through the PLC input rack.